## Slide 1: DFT calculations of motional effects on NQR parameters in molecular crystals
Allen Majewski, Chris Billman, Hai-Ping Cheng, Neil Sullivan
University of Florida
March 9, 2018

## Slide 2: overview
Nuclear quadrupole resonance spectroscopy
Basic theory of NQR
  Temperature dependence
  Motional effects
  Volume dependence
Calculations of NQR frequencies
  Density functional theory
  Methods
  Results

## Slide 3: explosives detection
EFG is a chemical fingerprint
14N has quadrupole moment
US Patents 1992-2017: ~ 102
TNT HMX RDX

## Slide 4: ADE 651 – fake NQR bomb detector
sold in Iraq 2008-2009
$50k/ea, total $42M
does not actually work

## Slide 5: energy of charge distribution 𝜌(x) in external V(x)

## Slide 6: electric field gradient tensor
diagonalizable  down to 3 components
eigenvectors  principal axes X, Y, Z
Q aligns with EFG principal axes

## Slide 7: coupling constants and NQR frequencies
can get it down to two components
with foresight, define
NQR frequencies are proportional to
  ϕzz ∝ Cq
  a factor in η
  a dimensionless constant that depends on spin
spin 3/2 e.g. 35Cl
spin 1 e.g. 14N

## Slide 8: example: paradichlorobenzene
no inequivalent chlorines
35Cl/37Cl
  75/25 abundance
  have different Q
expect two lines

## Slide 9: β-HMX (octogen)
two inequivalent amines
  equatorial
  axial
each has nitro group ∴ 4 sites
expect 8 lines since ν+, ν-

## Slide 10: temperature dependence
motional effects
thermal expansion

## Slide 11: temperature dependence
increased T  decreased νq
two mechanisms:
  temperature  motion
  thermal expansion  new EFG

## Slide 12: internal motions & effective EFG
3n-6 intramolecular modes
rocking wagging twisting
symmetrical asymmetrical scissoring
stretching stretching (bending)

## Slide 13: internal motions & effective EFG
intermolecular modes
acoustic & optical phonons

## Slide 14: internal motions & effective EFG
vibrational modes  displacements of nucleus in EFG
fast changing EFG  nucleus sees “average EFG”
  all modes: THz v.s. MHz for NQR
  nuclei ”see” averaged (reduced) EFG

## Slide 15: field components in perturbed system
intrinsic rotations RzRyRx
space fixed components

## Slide 16: correction to frequencies due to motions
space-fixed components
oscillators have
observed Cq, η

## Slide 17: Bayer/BBK model
now take only first M modes where
and use approximation
replace displacements with quantum harmonic
oscillators
disregard the term in η in the expression for the
couplings
we find

## Slide 18: Bayer/BBK model
b, c are fitting parameters

## Slide 19: NQR volume dependence in molecular crystal
molecular crystal:
EFG increases with volume
ionic crystal: EFG tends to
zero with increased volume

## Slide 20: anisotropy of β-HMX thermal expansion

## Slide 21: procedure
T=100K T=200K
T=225K T=250K
T=273K T=293K

## Slide 22: procedure
T=100K T=200K
T=225K T=250K
T=273K T=293K

## Slide 23: results - paradichlorobenzene

## Slide 24: results - HMX

## Slide 25: funding acknowledgement
Work supported in part by the NSF-DMR-1157490 and DOE grant DE-FG02- 02ER45995.